## Battery Energy Storage System
TLS Offshore Containers International Pte Ltd
A global leading supplier of containerised solutions
Tel: +65-65637288;
Email: sales@tls-containers.com; Web: http://www.tls-containers.com
Battery Energy Storage System Check List
Installation
Installation - New or Adding to existing installation
Installation - In-door only or Out-door preferred
Installation - Footprint restricted or No preference
Site
Site-Address
| Site - Humidity range (%） | Site - Temperature range (°F or °C)
| Site - Distance to coast (kM) | Site - Seismic request (Yes or NO)
Battery
Battery - provided by
Battery - BMS provided by
Battery - BMS powered by AC or DC or both
| Battery - Module voltage range (Vdc) | Battery - Module capacity (Ah)
Battery - Bank configuration (Strings #) or capacity (kWh)
| Battery - Max charging current (Adc) | Battery - Max discharging current (Adc)
EMS
EMS - Existing EMS or Site-controller-only or New EMS
EMS - provided by
AC connection
AC connection - External transformer (Yes or NO)
AC connection - Transformer power (kVA)
AC connection - AC voltage (Vac) at BESS interconnection
AC connection - Frequency (Hz)
AC connection - Split-phase or 3P+N+E or 3P+E
AC connection - Uninterrupted Power Supply Request (Yes or NO)
Load
Load - Peak load (kW)
Load - Inductive load (kW)
Load - Inrush current (A)
Load - Single-phase load (Yes or NO)
Load - Unbalanced load (Yes or NO)
Others
Site controller - Functions required
Protection - Fire-fighting System (YES or NO)
FFS Certification -UL/NFP A855 or CE/EU(NOVEC 1230) or No preference
Protection - Thermal controlled (YES or NO)
Grid Connection - Grid-tied only or Off-grid only or Microgrid with grid-tied
Grid Connection - Front-of-meter or Behind-the-meter
PCS - Power required (kW)
PCS - Expandable power (YES or NO)
DC-coupled Solar Panel - Yes or No
DC-coupled Solar panel - Capacity (kWp)
DC-coupled Solar panel - String #
AC-coupled Solar farm - String inverter or Central inverter
Other power source - Wind or Others (Yes or NO)
Other power source - Power (kW)
Other notes