## Sheet1
TLS Offshore Containers International
Email: sales@tls-containers.com; www.tls-containers.com
The purpose of this survey is to gain a deeper understanding of the project's details, in order to determine the scope of work required of us as a supplier and to provide accurate pricing. Can you please provide us with comprehensive information about the project?
1.1 | Humidity range(%) |  | Temperature range (℃） |  | Distance to coast (KM) |  | Seismic Requirement (Yes or No )
1.2 | Supply scope | [5 empty] | Supplied by TLS | Supplied by Client
Container shelter ( including FSS, HVAC, ligthing and other system )
Battery module
Battery Rack
BMS (battery management system)
EMS (energy management system)
PCS (power conversion system)
Other
1.3 | Project Schedule
| Expected order date |  | Expected delivery date |  |  | Projecy COD date
1.4 | Standard and certification ( Note CE or UL for HVAC and FSS )
2 | DC system
| System capacity MW/MWH (AC or DC) |  | Annual cycle mumber |  | Annual throughput /MWh(AC or Dc) |  | Life span
*Load profile ( if applicable )
| Peak load |  | Inductive load |  | Inrush current |  | Singla-phase load (yes/no )
Unbalanced load (yes/no )
3 | Power converter system
| No. of inverters |  | No. of DC input /inverter |  | DC voltage range (V) |  | Max DC current ( A)
| Max DC short circuit current ( KA) |  | AC voltage output ( rated and range ) (V) |  | AC frequency output ( rated and range ) (Hz) |  | Expandable power (YES or NO)
4 | AC efficiency
| PCS efficiency |  | MV transformer efficiency |  | AC cable efficiency |  | Others ( If appilcable )
Wether consider the aux. consumption into the AC efficiency? ( Yes or No)
5 | Others
| Thermal controlled type | Air-cooling | £ | Liquid-cooliong | £ | Temp range if required
| Grid connection Info | Grid tied only | £ | Off-grid only | £ | Microgrid with grid -tied |  | £
| DC coupled solar panel ( yes /no) |  | Panel capacity |  |  | Panel string
| AC coupled solar farm (Yes/no ) |  | String inverter |  |  | Central inverter
| Other power source If applicable |  |  |  | Power
Note & comments